## example
| F1: Seawater | F2: NF permeate | F3: NF concentrate | F4: MED brine | F5: MED water | F6: Thermal Cryst water | F7: Thermal Cryst salt | F8: NF antiscalant | F9: MED Cooling water | F10: Thermal Cryst Cooling water
flow rate | 124783 | 87348.1 | 37434.9 | 11523.45 | 77405.95 | 43133.65 | 5824.69 | 0 | 1421058.76 | 1447691.87
| F1: Seawater | F2: NF permeate | F3: NF concentrate | F4: MED brine | F5: MED water | F6: Thermal Cryst water | F7: Thermal Cryst salt
0 | 12.33 | 10.3572 | 16.9332 | 79.9292 | 0 | 0 | 142.3288
1 | 21.67 | 15.3857 | 36.3334 | 118.7354 | 0 | 0 | 305.3932
2 | 0.45 | 0.3555 | 0.6705 | 2.7435 | 0 | 0 | 5.6358
3 | 1.39 | 0.0278 | 4.5685 | 0.21454 | 0 | 0 | 38.3994
4 | 0.45 | 0.0225 | 1.4475 | 0.17364 | 0 | 0 | 12.1667
5 | 3.28 | 0.0656 | 10.7803 | 0.50625 | 0 | 0 | 90.6115
| 0 |  | 0
NF | 23.8873 | NF | 0
MED | 171.7717 | MED | 27861.8794
Thermal Cryst | 209.22 | Thermal Cryst | 26110.24
0
Water (kg/hr) | 120539.6002
NaCl (kg/hr) | 5824.6931
Mg(OH)₂ (kg/hr) | 0
Ca(OH)₂ (kg/hr) | 0
Na₂SO₄(kg/hr) | 0
1M NaOH (kg/hr) | 0
1M HCl(kg/hr) | 0

## indicators
| 0 |  | 0
Water production | 120539.6002 | 0 | kg/hr
absolute water production | 120539.6002 | 1 | kg/hr
water recovery | 96.5994 | 2 | %
Total electrical consumption | 404.879 | 3 | KWh
Total thermal energy consumption | 53972.1194 | 4 | KWh
Carbon dioxide emission kg co2/year | 801660.3953 | 5 | kg CO₂/year
Water footprint | 0 | 6 | kg/hr
OPEX | 2391944.2874 | 7 | €/year
CAPEX | 132884.8306 | 8 | €